# LipSync Connect Feature List (Version 1.0)

## Main Features

- The ability to automatically detect LipSync model and offer list of features for that specific LipSync model once the USB connection is established.

- The ability to retrieve and display the current LipSync model number.

- An option to retrieve and display the current LipSync version number.

- An option to retrieve, display, and update the current LipSync cursor speed level.

- An option to retrieve, display, and update the current LipSync Sip and Puff pressure threshold value.

- An option to retrieve and display the current LipSync Sip and Puff pressure value.

- An option to retrieve, display, and update the current LipSync rotation angle. Not Implemented

- An option to retrieve, display, and update the current LipSync debug mode state (Enabled or Disabled)

- An option to display and share LipSync log data ( Example : email FSR values )

- The ability to display the existing natural FSR values stored during initialization process, and the ability to perform FSR initialization process.

- The ability to display the existing max FSR values stored during calibration process, and the ability to start the FSR calibration process.

- An option to retrieve, display, and update the current LipSync tolerance values. Not Implemented

- The ability to display the existing button mappings of Sip and puff actions, and the ability to update/ reconfigure the button mappings of Sip and puff actions.

- Options to perform soft reset and factory reset.

- An option to retrieve, display, and update the current LipSync deadzone values. (LipSync Gaming and LipSync Macro)

- The ability to display the HID Bluetooth configuration modes, and the ability to start the Bluetooth configuration process. (LipSync Wireless and LipSync Macro)

- A help page with simple instructions on how to use the application.

## Future Features

### In Scope for this version

- Display Raw X and Y joystick values in a dual axis live plot using raw mode.

- An option to retrieve, display, and update the current LipSync raw mode state (Enabled or Disabled )

- A troubleshooting page to suggest common troubleshooting tips.

### Out of Scope for this version

- Store the button mappings and other settings as a profile and share the profiles.

- Notification for LipSync firmware update.

- Display LipSync user guides

- Voice assistant integration

- QR code reader