# LipSync Connect App Scope

| Version number | Date |
| --- | --- |
| Version 1.1 | January 27, 2023 |

## Project Purpose

The purpose of the project is to create a method to allow the LipSync users to modify the settings of their LipSync using a simple User Interface. This User Interface can be offered to end user as software, native application, or a web application.

The LipSync Connect App needs to allow the end users to customize the settings of their LipSync without any previous programming knowledge or knowledge of using commands.

The LipSync Connect App requires to be developed for a platform or operating system that is common among LipSync users and can be ported to other platforms or operating systems without major effort.

## Main Features

- Perform features that previously required a physical action such as pressing buttons or performing sip and puff actions.

- Allow the end user to customize their LipSync without major effort or additional programming knowledge.

- Provide visual and auditory feedback to improve setup and calibration process.

- Provide additional features to improve LipSync Troubleshooting process.

## Core Scope

- Researching and testing the feasibility of the idea

- User experience and User Interface Wireframing

- Prototyping

- Documentation including the test process and scope documents

- Releasing it for closed beta testers

- Closed beta testing the Prototype

- Refinement the prototype and resolving the bugs

- Release for beta testing

- Updating the application and resolving possible bugs

- Full release

# LipSync Connect App MVP Feature List (Version 0.2)

## Main Features

- An option to retrieve, display, and update the current LipSync cursor speed level.

- The ability to trigger initialization / neutral position reset process.

- The ability to start the FSR calibration process.

- Options to perform soft reset and factory reset.

- The ability to automatically detect LipSync model and offer list of features for that specific LipSync model once the USB connection is established.

- The ability to retrieve and display the current LipSync model number.

- An option to retrieve and display the current LipSync version number.

- An option to retrieve, display, and update the current LipSync Sip pressure threshold value.

- An option to retrieve and display the current LipSync Puff pressure threshold value.

- An option to retrieve, display, and update the current LipSync rotation angle.

- The ability to display the existing natural FSR values stored during initialization process, and the ability to perform FSR initialization process.

- The ability to display the existing max FSR values stored during calibration process, and the ability to start the FSR calibration process.

- An option to retrieve, display, and update the current LipSync deadzone values. (LipSync Gaming and LipSync Macro)

- An option to reverse the mapping of sip and puff.

- The ability to display the HID Bluetooth configuration modes, and the ability to start the Bluetooth configuration process. (LipSync Wireless and LipSync Macro)

- A help page with simple instructions on how to use the application.

### Bonus Scope

- A troubleshooting page to suggest common troubleshooting tips.

- An option to display and share LipSync log data (Example: email FSR values )

- The ability to display the existing button mappings of Sip and puff actions, and the ability to update/ reconfigure the button mappings of Sip and puff actions.

### Out of Scope

- Display Raw X and Y joystick values in a dual axis live plot using raw mode.

- An option to retrieve, display, and update the current LipSync debug mode state (Enabled or Disabled)

- An option to retrieve, display, and update the current LipSync raw mode state (Enabled or Disabled )

- Store the button mappings and other settings as a profile and share the profiles.

- Notification for LipSync firmware update.

- Display LipSync user guides

- Voice assistant integration

- QR code reader